Model Ordinance for Residential and Small Commercial

Solar Electric Energy Systems in PA

The attached sample model ordinance is intended for use as general templates for municipalities to review and adapt to their own particular needs. Please keep in mind that this sample model ordinance is merely a model, and should be used only as a guide in developing or amending your own ordinances as they pertain to Residential and Small Commercial Solar Electric Energy Systems.   No assurances are made regarding the enforceability of this ordinance.  Each municipality should confer with its own solicitor regarding such matters.

THE FOLLOWING MODEL ORDINANCE HAS BEEN PREPARED TO COVER THE  SCENARIO LISTED ABOVE. IT IS INTENDED TO SERVE AS A MODEL AND SHOULD BE INDIVIDUALIZED TO MEET EACH MUNICIPALITY’S SPECIFIC NEEDS.

(Municipality) Ordinance No. ______

AN ORDINANCE REGULATING THE DEVELOPMENT,

INSTALLATION AND CONSTRUCTION OF

RESIDENTIAL AND SMALL COMMERCIAL

SOLAR ELECTRIC ENERGY SYSTEMS

Section 1.  Title:

This Ordinance shall be known as the Residential and Small Commercial Solar Electric Energy Systems Ordinance for {Municipality}.

Section 2.   Purpose:

The purpose of this ordinance is to promote the use of solar energy and to provide for the land development, installation and construction of Residential and Small Commercial Solar Electric Energy Systems in {Municipality} subject to reasonable conditions that will protect the public health, safety and welfare.

Section 3.  Definitions:

“Residential and Small Commercial Solar Electric Energy Systems” or “Solar Energy System" means any solar collector or other solar energy device, or any structural design feature, mounted on a building or on the ground, and whose primary purpose is to provide for the collection, storage and distribution of solar energy for space heating or cooling, for water heating or for electricity.

"Solar Energy" means radiant energy (direct, diffuse, and reflected) received from the sun.

Section 4.  Classification:

A.  Solar Energy Systems shall be allowed in any area of the municipality and may be installed upon receipt of the necessary construction, electrical and/or mechanical permit(s). This ordinance applies to Solar Energy Systems to be installed and constructed for residential or small commercial use.

B.  Solar Energy Systems that are the primary use of a lot or Large-Scale Solar Electric Energy Facilities are governed by other ordinances of {Municipality}.

Section 5.  Applicability:

- This ordinance applies to Solar Energy Systems to be installed and constructed after the effective date of the ordinance, and all applications for Solar Energy Systems on existing structures or property.

- Solar Energy Systems constructed prior to the effective date of this ordinance shall not be required to meet the requirements of this ordinance.

- Any upgrade, modification, or structural change that materially alters the size or placement of an existing Solar Energy System shall comply with the provisions of this Chapter.

Section 6.  Design and Installation:

- To the extent applicable, the Solar Energy System shall comply with the Pennsylvania Uniform Construction Code, Act 45 of 1999 as amended and the regulations adopted by the Department of Labor and Industry.

- The design of the Solar Energy System shall conform to applicable industry standards.

Section 7.  Setbacks and Height Restrictions:

A.  A Solar Energy System may be installed as long as it meets the requirements of this ordinance and all other applicable construction codes.

B.  Ground-mounted Solar Energy System:

  - A Solar Energy System shall be located _____ feet from all property lines and comply with any height requirements for the area where the Solar Energy System is to be installed.

  - All exterior electrical and/or plumbing lines must be buried below the surface of the ground and be placed in a conduit.

  - A ground-mounted Solar Energy System must comply with any accessory structure restrictions that may apply to the area where the ground-mounted Solar Energy System is located.

- Roof mounted Solar Energy System:

1.  A Solar Energy System mounted on a roof shall conform to the height regulations of the area where the Solar Energy System is installed.

D.  Waivers:

- Upon request, the governing body may grant waivers of the location or height requirements, provided that the waiver will not present any undue hardships on adjoining properties.

- The governing body shall take into consideration the support or opposition of adjacent property owners in granting waivers of location or height requirements.

Section 8.  Effective Date:

This ordinance shall take effect _______________.

The PSATS Ordinance Database includes examples that townships can use when developing their own ordinances, job descriptions, and personnel regulations. Please keep in mind that these examples are merely an informational resource for you to use in developing your own ordinance, job description, or personnel regulation. PSATS does not guarantee the legal effectiveness of any of these examples, nor their appropriateness to any particular situation. These are for your judgment in consultation with your legal representative. PSATS encourages township officials to review and discuss all proposed ordinances, job descriptions, or personnel regulations with their township solicitor.