3800-FM-WSWM0290B    Rev. 9/2001

COMMONWEALTH OF PENNSYLVANIA

DEPARTMENT OF ENVIRONMENTAL PROTECTION

BUREAU OF WATER SUPPLY AND WASTEWATER MANAGEMENT

VERIFICATION OF PRIOR TESTING

Note:  Please refer to Chapter 72, Section 72.26, Denial of Permits, before completing this form.

Applicant’s Name	Municipality	County

Site Location	Subdivision Name	Lot No.

Name of SEO conducting/observing prior test	Date of prior test	(Perc.)	(Probe)

SECTION I CERTIFICATION AND TEST RESULTS

Verified

1.	Prior to an on-site inspection of the conditions on the property, the following must be verified:

a.	The SEO conducting or observing prior testing was certified at the time the tests were completed;

b.	The lot in question has not been cited in a decertification/suspension notice, written notice to the municipality or in any evaluation report represented to the municipality indicating improper or incorrect soils testing by prior SEOs’

c.	Test data was recorded and is available in sufficient quantity and detail to be interpreted by others in order to determine the presence of an identified limiting zone and average percolation rate.

IF ANY OF THE CONDITIONS ABOVE CAN NOT BE VERIFIED, RETESTING OF THE SITE IS REQUIRED.

IF ALL OF THE CONDITIONS ABOVE WERE PROPERLY VERIFIED, GO ON TO SECTION II.

SECTION II ON-SITE VERIFICATION	Yes	No

1.	Does the site display any of the following characteristics?

a.	Slopes in excess of 25%

b.	Presence of rock outcrops

c.	Floodplain or floodprone soils;

d.	Evidence of filling or scraping on the

site of the system:

e.	Evidence of more tests than reported:

2.	Slope as listed on the original test:	     %

Slope as measured on site:		     %

3.	Will the isolation distances encroach on adjacent properties?

4.	Is there insufficient area at the absorption site to accommodate the bed or trenches, as designed?

5.	Are there any obvious changes in the lot which would make the prior tests suspect?

SECTION II ON-SITE VERIFICATION	Yes	No

6.	Are there any observable conditions on the lot which would contradict the soils information provided?

7.	Was the soil probe performed more than ten (10) feet from the proposed area?

8.	Was the percolation test performed at a location other than the proposed area?

IF ANY OF THE QUESTIONS ABOVE WERE ANSWERED “YES”, RETESTING OF THE SITE IS REQUIRED.

IF ALL OF THE QUESTIONS ABOVE IN SECTION II WERE ANSWERED “NO”, GO ON TO SECTION III.

SECTION III TEST SITE VERIFICATION

The exact location of the soils tests performed has been determined to my satisfaction by one of the following:

1.	locating the test pit and percolation hole remnants on the lot;

2.	the existence of recorded measurements from at least two (2) permanent landmarks establishing the test locations;

3.	a plan of the lot, drawn to scale, indicating the location of the tests; or,

4.	Identification of the exact location of the tests by the prior SEO, provided that his/her certification has not been revoked, suspended or otherwise surrendered to the Department.

Verification of prior testing completed by

Name	Cert No.

Signature

ACCEPTED 	REJECTED

Copy Type:

Local Agency		Local DEP Office		Applicant

(White)		(Pink)		(Yellow)

Local Agency

Local DEP Office

Applicant